Abhinav Bindra Sports Medicine and Research Institute

BPT 2nd Semester 2nd Internal Examination

Date: 08.08.2025							Subject: ELECTROTHERAPY
Time: 09:00 AM – 12 AM                                                                             F.M. – 80 marks                                                

Q1. Long Answer Question (Answer Any two Out Of Three) (2 X 10 Marks)

- Discuss detail about the production of SWD with neat circuit diagram.

- Explain the details about clinical evaluation of ultraviolet A&B doses. How progress the next doses.

- Describe physiological and therapeutic effects of medium frequency current.

Q2. Long Answer Question (Answer Any Two Out Of Three) (2 X 10 Marks)

- Types, techniques and uses of Cold therapy.

- What is IRR? Write down its indication, technique of application and contraindication

- Write down the production and various types of UVR with Physiological effects

Q3. Short Answer Questions (Answer All) (6X 5 Marks)

- Different types of electrodes in SWD

- Therapeutic effects of Russian Current

- Contraindication of deep heating modalities

- Dosimetry of Russian Current.

- Contraindication of Actinotherapy

- Vapour Coolant

Q4. OBJECTIVE TYPE QUESTION (1 x 10)

- In tissue heating by SWD, Complex permittivity is dependent upon:

- Frequency

- Intensity

- Duration of Application

- None of the above

b) For thermal effect to be produced by PSWD, the mean power exceeds:

- 3W

- 5W

- 10W

- None of the above

c) High Frequency current have a frequency of:

- Above 10,000 Hz

- Below 10,000 Hz

- 500 Hz

- None of the above

d) The depth of penetration of MWD is:

- Greater than IR and lesser than SWD

- lesser than IR and greater than SWD

- Equal to SWD

- None of the above

e) The  term diathermy means:

- Superficial heating

- Deep heating

- Through and through heating

- None of the above

f) For the treatment of open wounds, UVR is applied at:

- E4

- E2

- E1

- None of the above

G) Vitamin D is produced by the effect of:

- UVB

- UVA

- UVC

- None of the above

h) In UVR lamp, the heat produced in the burner changes the quartz to:

- Silicone

- Boron

- Tridymite

- Silicone oxide

i)Thickening of skin following UVR is due to:

- Stimulation of fibroblast

- Stimulation of keratocytes

- Stimulation of sebaceous glands

- None of the above

J) Treatment by natural sunlight is referred to as:

I. Heliotherapy.

II. Actinotherapy

III. Phototherapy